**STEINEL Professional Accessory**

**Control box WiFi Connect**

**LiveLink**

Type: Lighting control set; Dimensions (L x W x H): 21 x 204 x 30 mm; Mains power supply: 220 – 230 V / 50 – 60 Hz; Power supply, detail: max. 64 users, DALI bus; Installation: Other; Settings via: LiveLink app; Interconnection: Yes; Interconnection, number: max. 9 Connect controllers; Type of interconnection: Master/master, Master/slave; Material: Plastic; Colour: white; Colour, RAL: 9003; Manufacturer's Warranty: 5 years; Version: LiveLink; PU1, EAN: 4007841035129

**Manufacturer** Steinel

**Prod. No.** 035129

**Ordering designation**

Deliver, install and set ready for operation