**STEINEL Professional Accessory**

**LiveLink control box**

Type: Lighting control set; Dimensions (L x W x H): 21 x 204 x 30 mm; Mains power supply: 220 – 230 V / 50 – 60 Hz; Power supply, detail: max. 64 users, DALI bus; Installation: Other; Settings via: LiveLink app; Interconnection: Yes; Type of interconnection: Master/slave; Material: Plastic; Colour: white; Colour, RAL: 9003; Manufacturer's Warranty: 5 years; PU1, EAN: 4007841013653

**Manufacturer** Steinel

**Prod. No.** 013653

**Ordering designation**

Deliver, install and set ready for operation