**STEINEL Professional Accessory**

**Surface-mounting adapter Control PRO AP Box KNX**

Type of accessory: Surface-mounting enclosure presence detector; Dimensions (L x W x H): 25 x 120 x 120 mm; Colour: white; Manufacturer's Warranty: 5 years; PU1, EAN: 4007841003029

**Manufacturer** Steinel

**Prod. No.** 003029

**Ordering designation**

Deliver, install and set ready for operation